
PR200
HMI OPERATION MANUAL
1General notes

Main Overview
2
Monitor Unit
3
Monitor LCP
3
Monitor DI / DO
4
Operation parameters
5
Alarm & trip setpoints
6
PID controller
7
Alarm list & Alarm log
8
System
9



 General notes

The HMI example screens in this manual will explain the navigation that is available in the touch-panel.
REFERENCE DOCUMENTS:

- CONTROL NARRATIVE (Document number xxxxx)
- PLC WIRING DIAGRAMS (Document number EI027-HSE-VD-IN-DIG-008)

- P&ID (Document number EI027-HSE-VD-PR-PID-002-02)

Navigation on the HMI can be done through touching the button menu on the left side of the HMI screen as indicated below in the red square.

Some menu’s have multiple sub-menu’s. These can be navigated by using the button menu at the top of the HMI screen as indicated below in the blue square.


[image: image1.png]10:59:39
31/12/2600

CONDENSER
RUBDOLA-AEO1

RioboiAne02 RUDGGIA-1-03
Criisér WETSNED it

S

RECEIVER HEADER
RUDDIA>2.

Wl s ooooia 2

1T RUOBTA-D1

EVAPORATOR
RUDOIA-E-02

LOFRUDOTA 01





Main Overview
This screens will give a visual overview of the unit with it’s main process values, and will give a quick show on status of the unit.

[image: image2.png]MainP2ID A1 MainP&IDA2 MainPEIDB1 Main PEID B2
 ——

10:59:39
31/12/2000

TIERUG00AD1 | IBITRUGCOIAE
2000.00 511 2000.00|Bar;

From KO.D
RU0001A-D-03)

RUDDDIAGDL

TRUDBGIADL
200000 &

RUOCOTAH01

PITRUCOIAGS
2000.00 g
TITRUGOTAGS
200,00 8¢
PITRUDEOIAD2: RiOOIARIT |

2000.00 Bard:

TITRUD00IADZ
2000.002€ PITRU0C01A05:

UTIDIAE
RonAL oL 1000.00 Baré.

PITRUOCOIAD6:
2000.00 Barg

RUOIOLAD-D1

RUDDOIAZAS

PITRUOCDIAGY
2000.00 BarG:

OLL SEPARATCR
RUCOC1A-D-0

LSRUOT01A-C1

=

OL COOLER
RUDDO1AED]





[image: image3.png]T J5ov-Rudotac3

Vi

17 RUOBTAD1

EVAPORATOR
RUDOIA-E-02

10:59:39
31/12/2600

CONDENSER
RUBDOLA-AEO1

{Jsov-Rupdaza.

RioboiAne02 RUDGGIA-1-03
Cisér WETSNED it

s ol

RECEIVER HEADER
RUDIA>02

LOWRUDOTA 01





Monitor Unit

This screen shows the unit status, process values & calculated DP values, oil recovery system status & PID control outputs.
[image: image4.png]LCP status

Horitor
it

Operation Parameters
UnitA

Oattsirtnets
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst
UnitE

FIT Controllers
Unit A

PID Controllers
it

Alarm seitings
Unit A

‘Alarm settings
it

DImonitor DO monitor

UNIT 5T0P
sees
[ e
sees
sees
sees





Monitor LCP

This screen shows the status on the local LCP (Local control panel) buttons / selector switches & lamp indications.
[image: image5.png]10:59:39
31/12/2000

RU0001A-LCP-01

HSSRUOD0IADI  HSTRUODDIADL  HSPRUDDDIAOL  XLRUDOOIADS XARUDOC1A01
EMERGENCY 5TOP UNIT START UNITSTOP  UNITREADY TO START  UNIT COMKON
HSRLO0LAL HSRUDOCIA02 HSCRU0001-01 XARUDO01A-02
CAPACITY CONTROL  CAPACTTY CONTROL UNIT UNIT COMNON
LOCAUREMOTE  LOAD/OFF/UNLOAD  LOCALIREMOTE TRD

HSTRUOOD1A06  HSPRUDODIADS  HLRRUDDDIADS  HSCRLOO01A06

PUMF START PUMP STOP PUM? RUNNING FUMP

iy

Q O O il
HSRUDOC1A03 XLRUD001A06

LAMP TEST  COMPRESSOR RUNNING

o O





Monitor DI / DO

This screen shows the digital input & output status on the I/O modules.

[image: image6.png]Horitor
it

Operation Parameters
UnitA

O ttsarnets
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst
UnitE

FIT Confrollers
Unit A

PID Controllers
it

Alarm seitings
Unit A

‘Alarm settings
it

LCP status

Digital input monitor
A3 DI Module

CH1/ HST-RU0001A-01
CH2 [ HSP-RU0001A-01
CH3 / HST-RU0001A-06
CHa / HSP-RU0001A-06
H5 [ H5-RUOD01A01
CHe / H5-RUOD01A03
CH7 [ HSC-RU0001A-01
CHB / HSC-RUD001A-06A
CHo / HSC-RUO001A-068
CH10 / HSRUD001A-02A
CH11 [ HS-RUO001A028
cH12 [ Spare

cH13 [ Spare

cH14 ] Spare

CH15 / VSRUO001A01A
CH16 / V5-RU0001A018

A2 CPU DI Module.
CHL/ PLC PS healthy

CHe / £5D RUO0O1A
cH7 [ EsD RUDOO1B
cH8 [ Spare
<9 [ Spare
CH10 ] Spare

:
g.

A4 DI Module

CH1 / HST-RUD001B-01
H2 [ HSP-RUOCO1B-01
CH3 / HST-RUD001B-06
CHa / HSP-RUOC01B-06.
H5 / HS-RU00018-01
CH6 / HS-RUD0018-03
7 | HSC-RU0C018-01
CHB / HSC-RUD01B-06A
CHo / HSCRUOD018-063
CH10 / HS-RUO001B-02A
CH11 / HS-RUO00AB-028
12/ Spare

CH13  Spare

CH1a  Spare

CHLS / V5-RU0001B-01A
CH16 / v5-RU0001B-018

A5 DI Module

cHE | X1RUO001A-01
CH2 | XFRU0001A-0A
CH3 | XRU0001A-03
CHa | XFRUD001A-03
cHS | X1RUO001A-02
CHE | XFRUD001A-02
CH7 | XRU0001A-04A
CHB | XFRU0001A-04A
CH | X1-RU00014-04B
CH1O | XFRUOD01A-048.
cH11 ] Spare

cH12 | TS-RUO001A01A
CH13 | TSRUO01A-018.
CH14 [ Spare

cHIS | 15RU0001A-01
CH16 [ Spare

A6 DI Module

CH1 / 1-RU00018-01
CH2 [ XFRU00018-08
CH3 / X1-RU0018-03.
CHa / XFRUO001B.03
CH5 / X1-RU0018-02
CHe / XFRUO001B-02
CH7  XL-RU001B-04A
CHB / XFRU00018-04A
CH9 / XL-R0001B-048
CH10 / XF-RUD001B-048.
CH11 Spare

CH12 | TSRUODO1B-01A
CH13/ TSRUD001B-018.
CH1a4 Spare

CH15 /L5-RU0001B-01
cH16  Spare





[image: image7.png]T— 10:59:39
DO monitor 31/12/2000

LCPstatus  DImonitor

Digital output monitor

A3 DO Module

A4 DO Module A5 DO Module A6 DO Module

CH1/XSTRUOD01A01 [ CHI/XSTRUDODIB-OL B CH1/SOVRUOODIADIE Bl CHI/SOVRUDDOIEOIE
e OH2/XSPRUOOCIA-G1 B CH2/XSP-RUDGOIBO1 B CH2/SOV-RUDDDIADIC I CH2/SOV-RUDOOIEOIC I
e O3 /XSTRUO001A02 B CH3/XSTRUD001B02 [ CH3/SOV-RUDDOIA0IA [ CH3/SOV-RUOD01B-01A
s 4 /XSP-RUOO0IA-G2 B CH4/XSP-RUO00IB02 B CH4/SOV-RUDDDIADID I CH4/SOV-RUDDOIE01D
W R ] o5 / XS-RUD001A-018 B 5/ XSRUOD01B-01B W Oi5/SOV-RUO00IA-03 B 45/ SOV-RUDOO1E-U3. ]
e 6 /XSRUDODIA0IC B OHG/XSRUODO1IB-0IC [ CHG/SOV-RUDDOIAG2 B CHG/SOV-RUDOOIB02 I
Opertionarametas | IUg L W o7/ Spare B o7/ spare W o7/ Spare ]
il CH8 / Spare W cH8/Spare W o8/ Spare W cHs/spare ]
Akrm Iog CHO /XSTRUOODIA03A B CHO/XSTRUODOIB-03A [ CHO /XL-RUODO1A-01 B CHO/XL-RUODOIB-0L ]
UnkA OH10/XSP-RUDDDIAD3A B CHIO/XSPRUODOIE-G3A M CHIO/XARUDOOIAD2 I CHIO/XARUOOOIB-2
g CHI1/XSTRUODOLA-038 B CH1/XSTRUOODIB038 [ OHI1/XLRUODOIA0S [ CHI1/XL-RUOODIBOS ]
CnitB CH12 / XSP-RUODO1A-03B n (CH12 / XSP-RUO001B-038 n (CH12 / XL-RUODO1A-06 L] (CH12 / XL-RUD001B-06 ]
e cHI3 / o3/ B CHI3/HIRAU00D1A05 B CHI3/HLRRU001B06
e cHLa/ o/ W oi14/Spare W 14/ Spare ]
cHIS / W s/ W oi15/Spare W 15/ Spare ]
st oHi6 / W o6/ B oi16/Spare W 15/ Spare ]
PID Controllers. A2cPUDO
UnitA o
1 / SR1 Reset
SRR 2 / SR2 Reset u
o3/ Spare u
Ay cHa [ spare ]
e CH5 / Spare u
Alarm settings CH6 / Spare -

GniB.




Operation parameters

This screen is for start/stop operation of the system. Limiter settings, slide valve calibration, control timers, oil recovery timers, air condenser settings can be set. (Please refer to the control narrative document for a complete description on the functions) 

[image: image8.png]Honior
Unit A

Horitor
it

"Operation Parameters
UnitA
Gt
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst
UnitE

FIT Confrollers
Unit A

PID Controllers
it

Alarm seitings
Unit A

‘Alarm settings
it





Alarm & trip setpoints

This page allows authorized personnel to adjust the alarm / trip setpoints according to their process requirements.
H
A high alarm condition is triggered when the Present Value increases past the setpoint and remains above the setpoint for the pre-set time of the delay timer. 

A low alarm condition is triggered when the Present Value decreases below the setpoint and remains below the setpoint for the pre-set time of the delay timer.
[image: image9.png]Honior
Unit A

Horitor
it

Operation Parameters
UnitA

O ttsarnets
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst
UnitE

FIT Confrollers
Unit A

PID Controllers

‘Alarm settings
it





[image: image10.png]Honkor
kA

Honzor
nz o

Operstinn brenctars
nit A Of soply . hh bgh/ THHa2

T Ot suply . e ow low/ POILOL
i (il vl low /L1001

Aambo

oo
nz o

B it
Unt A

Rl it
Bk s

0 Controlers
Unk &

Al satings
nz o





PID controller

This screens contain the PID operation settings for the PID controllers for compressor capacity control , chiller expansion valve, and condenser capacity control. In normal operation, the PID controllers are in AUTO mode. PID controllers can be put into manual mode.

[image: image11.png]Compressor Chiller Condenser

o0 (Compressor capacity control PIC-01
Hontor v PITRUOD0IA-0L 000 BarG SUDE VALYE % o00.003%
Unie A
B 0.0 BarG n 0%
Hortor
ik IS .00 nH o0000%
Operation Parermeters [N 00000 e e 0%
Uni€h
™ 09000 e sowopen 0000050

O ttsarnets
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst

D=0 EAND o00.00% status Side valve not 3t 0%

MANUAL OPERATION

n m Kl

PID Controllers
it

Alarm seitings
Unit A

‘Alarm settings
it





[image: image12.png]o
Honior
Unit A

Horitor
it

Operation Parameters
UnitA

O ttsarnets
Unite

Alrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst

PID Controllers
it

Alarm seitings
Unit A

‘Alarm settings
it

Compressor Chiller Condenser

0/ LT-RUOLA-0L o00.00% sTopmy o005
Ed o00.00% " o005
© oon.0c wh om00%
n 000.0¢ s we o005
™ 000.0¢ sc siowopen 000,00 sec
MANUAL OPERATION
o00.00





[image: image13.png]317132000





Alarm list & Alarm log

The alarm logs shows the log of all active, acknowledged, and cleared alarms or trips, while the alarm list shows only current active alarms or trips. 
On both these pages there is a “RESET” button available to reset any active alarm or trip.
[image: image14.png]Alarm class
Mor
unicA

Eissror
GniB.

Operaion Parametss
UnxA

Op=ion s
GniB.

Atm Iog
A

e
GniB.

PID Controllers.

Status

Text

System





[image: image15.png]in [Alarm dlass  Time

Honior
Unit A

Horitor
it

Operation Parameters
UnitA

eration Parametars
Unite

Alarm bg
Unit A

Abrmiog
it

Abarm st
Unit A

Rl bst
UnitE

FIT Confrollers
Unit A

PID Controllers
it

Alarmm settings
Unit A

Alorm seitings
it

Status

Text





System

This page allows the user to set time and date and get to the control panel/HMI’s internal configuration menu.

The “Freeze screen cleaning” button will give a time window of 15 seconds to clean the HMI panel, without the risk of pressing any button that could impact a running unit.
[image: image16.png]Set Time/Date

Time 10:59:39
Date 31/12/2000

Operation Parareters
UnitA

Oattsathnets
Unite

Akrmiog
Unit A

Abrmiog
it

Al st
Unit A

Ao bst
UnitE

reeze screen
Cleaning

FIT Controllers
Unit A

PID Controllers
it

Alarm seitings
Unit A

Alorm settings
it






