| Shipper/Exporter Delta GmbH |  |  | Purchase Order No.: OFFSITE-61-1 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Remarks: |  |  |  |  |
| For account & risk of Messes |  |  |  |  |  |  |  |
| Consignee Petroelectric Energy Development |  |  |  |  |  |  |  |
| Notify party |  |  |  |  |  |  |  |
| Port of loading Ghazvin | Final destination Assaluyeh |  | Term of Delivery : |  |  |  |  |
| Carrier ……N.A………… | Sailing on or about ……N.A…… |  | Manufacturer HSE-Group |  |  | Origin IRAN |  |
| Numbers of PKGS 6 | Description of Goods Chiller skid and loose Items |  | Total Quantity 2 | Net weight(kg) 21,100 | Gross weight(kg) 21,700 |  | Serial/Heat No. N.A |
| Vendor: Delta GmbH |  |  |  |  |  |  |  |
| Buyer: Petro Electric Energy Development Co. |  |  |  |  |  |  |  |
| End User/Client: Padjam Polymer Development Company |  |  |  |  |  |  |  |
| Vendor Signed & Stamp |  | VENDOR Name: Delta GmbH CEO Name: Mr. Amin Malekinia |  |  |  |  |  |
| buyer Signed & Stamp |  | Buyer Name: Petro Electric Energy Development Co. CEO Name: |  |  |  |  |  |

Packing List

(Detailed Item List)								Page No. 2 of 2

| ### PKG. No. | ### Description of Goods | ### ORD. QTY. | Net- weight ### (KGS) | Gross- weight ### (KGS) | Size ### (CM x CM x CM) | ### Serial No./Heat No. |
| --- | --- | --- | --- | --- | --- | --- |
| ### 1 | ### Chiller Skid Unit A including Chiller, Piping’s, Level Gauge, Control Valve, Manual Valves, Cable trays | ### 1 | 9500 | 9700 | 420X255X200 | Skid |
| ### 2 | ### Chiller Skid Unit B including Chiller, Piping’s, Level Gauge, Control Valve, Manual Valves, Cable trays | ### 1 | 9500 | 9700 | 420X255X200 | Skid |
| ### 3 | ### Manual Valves | ### 26 | 150 | 180 | 140X50X60 | Wooden Box |
| ### 3-1 | ### Ball Valve size 2” | ### 4 |  |  |  |  |
| ### 3-2 | ### Ball Valve size 1 1/2” | ### 2 |  |  |  |  |
| ### 3-3 | ### Ball Valve size 1” | ### 6 |  |  |  |  |
| ### 3-4 | ### Ball Valve size 3/4” | ### 2 |  |  |  |  |
| ### 3-5 | ### Ball Valve size 1/2” | ### 6 |  |  |  |  |
| ### 3-6 | ### Needle Valve Size ½” | ### 4 |  |  |  |  |
| ### 3-7 | ### Needle Valve Size 3/8” | ### 2 |  |  |  |  |
| ### 4 | ### Interconnecting Piping Components | ### - | 290 | 320 | 70X110X75 | Wooden Box |
| ### 4-1 | ### Bolt & Nuts as per interconnecting isometric | ### - |  |  |  |  |
| ### 4-2 | ### Tube ½” | ### 18 |  |  |  |  |
| ### 4-3 | ### Tube 3/8” | ### 6 |  |  |  |  |
| ### 4-4 | ### Tube Fittings including Male Connectors, Male Elbows, Female Unions, Female connectors, Nipples | ### 75 |  |  |  |  |
| ### 4-5 | ### Gaskets as per interconnecting Isometric | ### 105 |  |  |  |  |
| ### 4-6 | ### Cable 1X2X1.5 Blue | ### 70 |  |  |  |  |
| ### 4-7 | ### Cable 1X2X2.5 Grey | ### 100 |  |  |  |  |
| ### 4-8 | ### Cable Earth 10 | ### 45 |  |  |  |  |
| ### 4-9 | ### Cable Earth 35 | ### 8 |  |  |  |  |
| ### 4-10 | ### Earth Bar | ### 2 |  |  |  |  |
| ### 5 | ### Pipe Spools | ### 96 | 1500 | 1620 | 800X350 | Pallet |
| ### 5-1 | ### Pipe Spools- 61201-4-1 A&B | ### 2 |  |  |  |  |
| ### 5-2 | ### Pipe Spools- 61201-4-2 A&B | ### 2 |  |  |  |  |
| ### 5-3 | ### Pipe Spools- 60701-A-2 A&B | ### 2 |  |  |  |  |
| ### 5-4 | ### Pipe Spools- 61201-3 A&B | ### 2 |  |  |  |  |
| ### 5-5 | ### Pipe Spools- 61202-2 A&B | ### 2 |  |  |  |  |
| ### 5-6 | ### Pipe Spools- 61201-1-1 A&B | ### 2 |  |  |  |  |
| ### 5-7 | ### Pipe Spools- 61201-1-2 A&B | ### 2 |  |  |  |  |
| ### 5-8 | ### Pipe Spools- 61201-2 A&B | ### 2 |  |  |  |  |
| ### 5-9 | ### Pipe Spools- 60601-1 A&B | ### 2 |  |  |  |  |
| ### 5-10 | ### Pipe Spools- 60601-2 A&B | ### 2 |  |  |  |  |
| ### 5-11 | ### Pipe Spools- 60601-3 A&B | ### 2 |  |  |  |  |
| ### 5-12 | ### Pipe Spools- 60601-4 A&B | ### 2 |  |  |  |  |
| ### 5-13 | ### Pipe Spools- 60701-1-1 A&B | ### 2 |  |  |  |  |
| ### 5-14 | ### Pipe Spools- 60701-1-2 A&B | ### 2 |  |  |  |  |
| ### 5-15 | ### Pipe Spools- 60701-1-3 A&B | ### 2 |  |  |  |  |
| ### 5-16 | ### Pipe Spools- 60502-1 A&B | ### 2 |  |  |  |  |
| ### 5-17 | ### Pipe Spools- 60502-2 A&B | ### 2 |  |  |  |  |
| ### 5-18 | ### Pipe Spools- 60502-3 A&B | ### 2 |  |  |  |  |
| ### 5-19 | ### Pipe Spools- 60502-4 A&B | ### 2 |  |  |  |  |
| ### 5-20 | ### Pipe Spools- 60501-1-1 A&B | ### 2 |  |  |  |  |
| ### 5-21 | ### Pipe Spools- 60501-1-2 A&B | ### 2 |  |  |  |  |
| ### 5-22 | ### Pipe Spools- 60501-1-3 A&B | ### 2 |  |  |  |  |
| ### 5-23 | ### Pipe Spools- 60501-1-4 A&B | ### 2 |  |  |  |  |
| ### 5-24 | ### Pipe Spools- 60501-1-5 A&B | ### 2 |  |  |  |  |
| ### 5-25 | ### Pipe Spools- 60501-1-6 A&B | ### 2 |  |  |  |  |
| ### 5-26 | ### Pipe Spools- 60301-1 A&B | ### 2 |  |  |  |  |
| ### 5-27 | ### Pipe Spools- 60301-2 A&B | ### 2 |  |  |  |  |
| ### 5-28 | ### Pipe Spools- 60301-3 A&B | ### 2 |  |  |  |  |
| ### 5-29 | ### Pipe Spools- 60301-4 A&B | ### 2 |  |  |  |  |
| ### 5-30 | ### Pipe Spools- 60301-5 A&B | ### 2 |  |  |  |  |
| ### 5-31 | ### Pipe Spools- 60301-6 A&B | ### 2 |  |  |  |  |
| ### 5-32 | ### Pipe Spools- 60701-3-1 A&B | ### 2 |  |  |  |  |
| ### 5-33 | ### Pipe Spools- 60701-3-2 A&B | ### 2 |  |  |  |  |
| ### 5-34 | ### Pipe Spools- 60701-3-3 A&B | ### 2 |  |  |  |  |
| ### 5-35 | ### Pipe Spools- 60701-3-4 A&B | ### 2 |  |  |  |  |
| ### 5-36 | ### Pipe Spools- 60701-3-5 A&B | ### 2 |  |  |  |  |
| ### 5-37 | ### Pipe Spools- 60701-4 A&B | ### 2 |  |  |  |  |
| ### 5-38 | ### Pipe Spools- 60701-2 A&B | ### 2 |  |  |  |  |
| ### 5-39 | ### Pipe Spools- 60701-A-1-1 A&B | ### 2 |  |  |  |  |
| ### 5-40 | ### Pipe Spools- 60701-A-1-2 A&B | ### 2 |  |  |  |  |
| ### 5-41 | ### Pipe Spools- 60701-A-1-3 A&B | ### 2 |  |  |  |  |
| ### 5-42 | ### Pipe Spools- 60701-A-1-4 A&B | ### 2 |  |  |  |  |
| ### 5-43 | ### Pipe Spools- 61202-1-1 A&B | ### 2 |  |  |  |  |
| ### 5-44 | ### Pipe Spools- 61202-1-2 A&B | ### 2 |  |  |  |  |
| ### 5-45 | ### Pipe Spools- 61202-1-3 A&B | ### 2 |  |  |  |  |
| ### 5-46 | ### Pipe Spools- 61202-1-4 A&B | ### 2 |  |  |  |  |
| ### 5-47 | ### Pipe Spools- 10000-1 A&B | ### 2 |  |  |  |  |
| ### 5-48 | ### Pipe Spools- 10000-2 A&B | ### 2 |  |  |  |  |
| ### 6 | ### Bearing Block for Air Cooler | ### 2 | 160 | 180 | 178X60X55 | Wooden Box |

| Vendor Signed & Stamp | VENDOR Name: Delta GmbH CEO Name: Mr. Amin Malekinia |
| --- | --- |
| buyer Signed & Stamp | Buyer Name: Petro Electric Energy Development Co. CEO Name: |