## Sheet1
ITEM | TAG NUMBER | QTY | SIZE | LOCATION | DESCRIPTION | VENDOR | Assembled | Loose item | Current Location | TOTAL PRICE | UNIT Price
MAIN ITEMS
Compressor Skid | RU0001A-C-01, RU0001B-C-01 | 2 | - | - | 160 V-S, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter | MYCOM | YES |  | NASH | 140000 | 70000
Main Motor | RU0001A-M-01, RU0001B-M-01 | 2 | - | COMPRESSOR | 120 KW | HELMKE | YES |  | NASH | 23342 | 11671
Oil pump Motor | RU0001A-M-04, RU0001B-M-04 | 2 | - | OIL PUMP | 2.5 KW | HELMKE | YES |  | NASH | 1444 | 722
Oil Heater | RU0001A-H-01, RU0001B-H-01 | 2 | - | OIL SEPARATOR | 2 KW | FATI | YES |  | NASH | 1018.5 | 509.25
Filter Dryer | RU0001A-FT-01 | 1 | - | RECEIVER HEADER | LIQUID LINE FILTER DRYER | MYCOM | NO | YES | NASH | 4481.05 | 4481.05
Ejector | - | 2 | - | CHILLER | Oil return ventury ORVW, material stainless steel | Wijbenga | NO | YES | NASH | 612 | 306
VALVES and STRAINER
FCV | FCV-RU0001A-1, FCV-RU0001B-1 FCV-RU0001A-2, FCV-RU0001B-2 | 4 | ½" | COMPRESSOR | Parker throttle check valve, BSPP, SS | BARTHEL | YES |  | NASH | 620 | 155
Solenoid Valve | SOV-RU0001A-01A-, SOV-RU0001B-01A- SOV-RU0001A-01B-, SOV-RU0001B-01B- SOV-RU0001A-01C-, SOV-RU0001B-01C- SOV-RU0001A-01D-, SOV-RU0001B-01D- | 8 | ½" | COMPRESSOR |  |  | YES |  | NASH
Solenoid Valve | SOV-RU0001A-03, SOV-RU0001B-03 SOV-RU0001A-02, SOV-RU0001B-02 | 4 | ½" | CHILLER |  |  | NO | YES | NASH
GLOBE VALVE | GLO-RU0001A02, GLO-RU0001B02 | 2 | 25mm | Condenser |  | METALLUM | NO | YES | Haji naghi warehouse | 330 | 165
CHECK VALVE | CHV-RU0001A04, CHV-RU0001B04 | 2 | 25mm | Filter Dryer |  | METALLUM | NO | YES | Haji naghi warehouse | 272 | 136
GLOBE VALVE | GLO-RU0001A03, GLO-RU0001B03 | 2 | 25mm | Chiller |  | METALLUM | NO | YES | Haji naghi warehouse | 446 | 223
Globe VALVE | GLO-RU0001A04, GLO-RU0001B04 | 2 | 150mm | Chiller |  | METALLUM | NO | YES | Haji naghi warehouse | 4518 | 2259
CHECK VALVE | CHV-RU0001A03, CHV-RU0001B03 | 2 | 50mm | Oil Separator |  | METALLUM | NO | YES | Haji naghi warehouse | 504 | 252
Sight Glass | SG-RU0001A01, SG-RU0001B01 | 2 | 3/8" | Oil Separator |  | METALLUM | YES |  | NASH | 386 | 193
Sight Glass | SG-RU0001A02, SG-RU0001B02 | 2 | 3/8" | Chiller |  | METALLUM | NO | YES | Haji naghi warehouse | 386 | 193
Strainer | YST-RU0001A01, YST-RU0001B01 | 2 | 3/8" | Oil Separator |  | METALLUM | YES |  | NASH | 282 | 141
Strainer | YST-RU0001A02, YST-RU0001B02 | 2 | 1/2" | Chiller |  | METALLUM | NO | YES | Haji naghi warehouse | 324 | 162
Manifold Valve | - | 14 | ½" | - | 2 valve manifold , 1/2" - NPT, 316 SS, | OLIVER/ALZERWA | YES |  | NASH | 807 | 57.6429
Needle valve | NV-RU0001A02, NV-RU0001B02 | 2 | 3/8" | Oil Separator | Thraded 3000#, Lube Oil | OLIVER/ALZERWA | YES |  | NASH | 50 | 25
INSTRUMENTS
PG | PG-RU0001A-01, PG-RU0001B-01 | 2 | ½" | Compressor | Model: 233.30 pressure -1...+24 barg, 1/2 NPT | WIKA | YES |  | NASH | 831.92 | 415.96
PIT | PIT-RU0001A-01; PIT-RU0001B-01 | 2 | ½" | Compressor | Model: IPT-20 - Pressure -1...+40 bar gauge/ 1/2 NPT | WIKA | YES |  | NASH | 3834.42 | 1917.21
PIT | PIT-RU0001A-02; PIT-RU0001B-02 PIT-RU0001A-03; PIT-RU0001B-03 PIT-RU0001A-05; PITRU0001B-05 PIT-RU0001A-06; PIT-RU0001B-06 | 8 | ½" | Compressor Oil separator Oil Cooler Oil Pump | Model: IPT-20 pressure -1...+40 bar gauge Thread ½NPT | WIKA | YES |  | NASH | 15337.68 | 1917.21
PIT | PIT-RU0001A-04, PIT-RU0001B-04 | 2 | ½" | Oil Separator | Model: IPT-20 pressure -1...+40 bar gauge Thread ½NPT | WIKA | YES |  | NASH | 3834.42 | 1917.21
TIT | TIT-RU0001A-01 TIT-RU0001B-01 | 2 | ½" | Compressor | Model: T32.1S, head mounting, Insertion length: 120 mm | WIKA | YES |  | NASH | 3277.2 | 1638.6
TIT | TIT-RU0001A-02; TIT-RU0001B-02 | 2 | ½" | Compressor | Model: T32.1S, head mounting, Insertion length: 90 mm | WIKA | YES |  | NASH | 3235.14 | 1617.57
TIT | TIT-RU0001A-03; TIT-RU0001B-03 | 2 | ½" | Oil Separator | Model: T32.1S, head mounting, Insertion length: 250 mm | WIKA | YES |  | NASH | 3459.56 | 1729.78
Potentiometer | ZT-RU0001A-01; ZT-RU0001B-01 | 2 | - | Compressor | Model: T32.3S, rail mounting | WIKA | YES |  | NASH | 1212.98 | 606.49
LIT | LG-RU0001A-03; LG-RU0001B-03 | 2 | 2" | Chiller | Magnetic Level Gauge Type BNA-S00C, C-to-C: 1220 mm, Measuring range: 925 mm | WIKA | NO | YES | NASH | 12706 | 6353
LS | LS-RU0001A-01; LS-RU0001B-01 | 2 | 3/4" | Oil Separator | Tuning Fork Level Switch TLS-SAD, 3/4" NPT, Insertion length (L): 150 mm | WIKA | YES |  | NASH | 940 | 470
ELECTRICAL
CABLE | - | 150 | - |  | Cu/MICA+XLPE/OS/LSZH/SWA/LSZH (RTE4XOHM1FM1) - 500 V - 1X3X1,5 mm2 | Forelind | YES |  | NASH | 912 | 6.08
CABLE | - | 650 | - |  | Cu/XLPE/OS/PVC/SWA/PVC (RE4XOHRFR) - 300/500 V - 1X2X1,5 mm2 | Forelind | YES |  | NASH | 2275 | 3.5
CABLE | - | 300 | - |  | Cu/XLPE/OS/PVC/SWA/PVC (RE4XOHRFR) - 300/500 V - 1X2X2,5 mm2 | Forelind | YES |  | NASH | 1374 | 4.58
CABLE | - | 20 | - |  | UX P15/P108 1X6 NEK 606 0,6-1KV ZHAL GREEN/JELLOW CLASS 2 TINNED COPPER | Forelind | YES |  | NASH | 141.2 | 7.06
CABLE | - | 80 | - |  | UX P15/P108 1X35 NEK 606 0,6-1KV ZHAL GREEN/JELLOW CLASS 2 TINNED COPPER TOLLERANZA SULLA LUNGHEZZA: +/- 5% | Forelind | YES |  | NASH | 1115.2 | 13.94
CABLE |  | 20 |  |  | Cu/XLPE/OS/PVC/SWA/PVC (RE4XOHRFR) -300/500 V - 1X2X1,5 mm2 /NIS GRAY |  |  |  | NASH
LCP | RU001A-LCP-01 & RU001B-LCP-01 | 2 | - | - | 480x480x205mm | CORTEM | YES |  | NASH | 4000 | 2000
JB | JBD-A-RU0001A-01 & JBD-A-RU0001B-01 | 2 | - | - | 450x380x205mm. | CORTEM | YES |  | NASH | 2200 | 1100
JB | JBD-A-RU0001A-03 & JBD-A-RU0001B-03 | 2 | - | - | 306x306x205mm. | CORTEM | NO | YES | NASH | 1500 | 750
JB | JBD-A-RU0001A-02 & D-A-RU0001B-02 | 2 | - | - | 260x260x205mm | CORTEM | YES |  | NASH | 1300 | 650
JB | JBD-A-RU0001A-04 & JBD-A-RU0001B-04 | 2 | - | - | 260x260x205mm. | CORTEM | NO | YES | NASH | 1300 | 650
Gland | - | 50 |  |  | 20SMM HAZ AREA GLND-BNP 20SE1FW1RA5 | Electromec- CMP | YES |  | NASH | 343 | 6.86
Gland | - | 25 |  |  | 20MM HAZ AREA GLND-BNP 20E1FW1RA5 | Electromec- CMP | YES |  | NASH | 210.75 | 8.43
Gland | - | 20 |  |  | M20 HH Exd STP PLUG-BNP 757DM25 | Electromec- CMP | YES |  | NASH | 69.6 | 3.48
Tubing
Male Stub | - | 4 |  | Chiller Skid | MaleStub 3/8" NPT(M) * 1/2" Tube | Valve Technical | NO | YES | NASH | 20 | 5
Male Stub | - | 6 |  | Chiller Skid | MaleStub 1/2" NPT(M) * 1/2" Tube | Valve Technical | NO | YES | NASH | 21 | 3.5
Male Stub | - | 6 |  | Chiller Skid | MaleStub 1/2" NPT(M) * 3/8" Tube | Valve Technical | NO | YES | NASH | 25.2 | 4.2
Male Stub | - | 4 |  | Chiller Skid | MaleStub 3/8" NPT(M) * 3/8" Tube | Valve Technical | NO | YES | NASH | 15 | 3.75
Tube Clamp | - | 20 |  | Compressor Skid | 1/2" OD Tube Clamp, Single,Standard, SS316, MAKE: DK-LOK | Valve Technical | YES |  | NASH | 82 | 4.1
Tube Clamp | - | 20 |  | Compressor Skid | 3/8" OD Tube Clamp, Single,Standard, SS316, MAKE: DK-LOK | Valve Technical | YES |  | NASH | 85 | 4.25
Tube |  | 54 | 1/2" | Compressor Skid |  | CENTRAVIS | YES |  | NASH | 486 | 9
Tube |  | 12 | 3/8" | Compressor Skid |  | CENTRAVIS | YES |  | NASH | 84 | 7
Male Stub |  | 26 |  | Compressor Skid | Male Stub 1/2" NPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 180.57 | 6.945
Male Stub |  | 24 |  | Compressor Skid | Male Stub 3/8" NPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 155.568 | 6.482
Femal Stub |  | 14 |  | Compressor Skid | Femalale Stub 3/8" NPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 103.712 | 7.408
Female Stub |  | 16 |  | Compressor Skid | Female Stub 1/2" NPT(F) * 1/2" Tube | Hy-Lok | YES |  | NASH | 162.976 | 10.186
Femal Union Elbow |  | 60 |  | Compressor Skid | Femal Union Elbow 1/2"Tube * 1/2"Tube | Hy-Lok | YES |  | NASH | 1027.86 | 17.131
Male Connector |  | 14 |  | Compressor Skid | Male Connector 3/8" NPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 110.194 | 7.871
Male Connector |  | 10 |  | Compressor Skid | Male Connector 3/8" NPT(M) * 3/8" Tube | Hy-Lok | YES |  | NASH | 60.19 | 6.019
Male Connector |  | 10 |  | Compressor Skid | Male Connector 1/2" NPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 87.97 | 8.797
Male union elbow |  | 18 |  | Compressor Skid | Male union elbow 3/8" BSPT x 1/2"T | Hy-Lok | YES |  | NASH | 225.018 | 12.501
Male connector |  | 18 |  | Compressor Skid | Male connector 3/8" BSPT x 1/2"T | Hy-Lok | YES |  | NASH | 141.678 | 7.871
Female connector |  | 16 |  | Compressor Skid | Female connector 3/8" BSPT x 1/2"T | Hy-Lok | YES |  | NASH | 140.752 | 8.797
Male connector |  | 10 |  | Compressor Skid | Male connector 3/8" BSPT x 3/8"T | Hy-Lok | YES |  | NASH | 60.19 | 6.019
Male connector |  | 8 |  | Compressor Skid | Male connector 1/2" BSPT x 3/8"T | Hy-Lok | YES |  | NASH | 55.56 | 6.945
Male connector |  | 6 |  | Compressor Skid | Male connector 1/2" BSPT x 1/2"T | Hy-Lok | YES |  | NASH | 52.782 | 8.797
Half union elbow |  | 52 |  | Compressor Skid | Half union elbow 1/2" NPT(F) x 1/2"T | Hy-Lok | YES |  | NASH | 987.116 | 18.983
Elbow |  | 40 |  | Compressor Skid | Elbow 1/2" NPTF x 1/2" NPTF | Hy-Lok | YES |  | NASH | 722.28 | 18.057
Adaptor |  | 4 |  | Compressor Skid | Adaptor Carbon steel 3/8" BSPTM to 3/8"NPTM | Hy-Lok | YES |  | NASH | 9.26 | 2.315
Nipple |  | 4 |  | Compressor Skid | Nipple Carbon steel 3/8" NPTM, 50 mm | Hy-Lok | YES |  | NASH | 9.26 | 2.315
Male Stub |  | 4 |  | Compressor Skid | Male Stub 3/8" BSPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 25.928 | 6.482
Male Stub |  | 6 |  | Compressor Skid | Male Stub 1/2" BSPT(M) * 1/2" Tube | Hy-Lok | YES |  | NASH | 41.67 | 6.945
Male Stub |  | 4 |  | Compressor Skid | Male Stub 3/8" RC * 1/2" Tube | Hy-Lok | YES |  | NASH | 25.928 | 6.482
Union TEE |  | 10 |  | Compressor Skid | Union TEE 1/2" Tube * 1/2" Tube * 1/2" Tube | Hy-Lok | YES |  | NASH | 236.13 | 23.613
Male Connector |  | 6 |  | Compressor Skid | Male Connector 3/8" RC * 1/2" Tube | Hy-Lok | YES |  | NASH | 47.226 | 7.871
Male Stub |  | 4 |  | Compressor Skid | Male Stub 1/4" RC * 1/2" Tube | Hy-Lok | YES |  | NASH | 25.928 | 6.482
Nipple |  | 14 |  | Compressor Skid | Male Nipple 1/2" NPT-50mm | Hy-Lok | YES |  | NASH | 97.23 | 6.945
Adapter |  | 2 |  | Compressor Skid | Adapter 1-1/2" BSPT (Male) to 1-1/2" NPT (Female) | Hy-Lok | YES |  | NASH | 156.494 | 78.247
Plug |  | 16 |  | Compressor Skid | 1/4" NPT | Hy-Lok | YES |  | NASH | 29.632 | 1.852