## Sheet1
DELTA
SO : PR200 - DELTA
Specification : Scope of Supply list
Document No: PR200-I02 Rev. 0
|  |  |  | Design |  | Supply |  | Installation |  | Inspection |  | Comment
|  |  |  | DE | Mfg | DE | Mfg | DE | Mfg | DE | Mfg
Line | Rev. | Process , Piping and Instrument data
D01 |  | P&I diagram |  | X
D02 |  | Instrument list |  | X |  | X |  |  | X | X
D03 |  | Unit layout |  | X |  | X |  |  | X | X | X | 3-D drawing will be provided by ME
D04 |  | Instrument hook-up and MTO |  | X |  | X |  |  | X
D05 |  | Instrument Cable List
D06 |  | Electrical Cable List
D07 |  | Tubing Support
D08 |  | JB and LCP Wiring
D09 |  | 3D Model
D10 |  | General Arrangement Drawing
Line | Rev. | Piping |  | Design |  | Supply |  | Installation |  | Inspection |  | Comment
|  |  |  | DE | Mfg | DE | Mfg | DE | Mfg | DE | Mfg
P01
P02
P03
P04
P05
P06
P07
P08
P09
P10
P11
P12
P13
P14
P15
P16
P17
P18
P18
P19
P20
P21
P22
Line | Rev. | Instrumentation (Compressor Skid) (2 Identical Units) |  | Design |  | Supply |  | Installation |  | Inspection |  | Comment
|  |  |  | DE | Mfg | DE | Mfg | DE | Mfg | DE | Mfg
I01 |  | Transmitters | All types | X |  | X |  |  | X
I02 |  |  | Mating fl'g | X |  | X |  |  | X |  |  | Not Applicable. Connections are threaded
I03 |  |  | Tubing | X |  | X |  |  | X | X | X
I04 |  | Indicators and Gauges | All types | X |  | X |  |  | X | X
I05 |  |  | Mating fl'g | X |  | X |  |  | X | X |  | Not Applicable. Connections are threaded
I06 |  |  | Tubing | X |  | X |  |  | X | X | X
I07 |  | Temperature instrument | Instrum. and thermowell | X |  | X |  |  | X | X
I08 |  |  | Mating bolting | X |  | X |  |  | X | X |  | Not Applicable. Connections are threaded
I09 |  | Solenoid Valves |  | X |  | X |  |  | X | X
I10 |  |  | Mating fl'g | X |  | X |  |  | X
I11 |  |  | Tubing | X |  | X |  |  | X | X | X
I12 |  | Level Switch |  | X |  | X |  |  | X | X | X
I13 |  | Junction boxes |  | X |  | X |  |  | X | X | X
I14 |  | Local Control Panel |  | X |  | X |  |  | X | X | X
I15 |  | Cable glands |  | X |  | X |  |  | X | X |  | For both instrumentation and junction boxes with exclusion of multi-cores
I16 |  | Adaptors |  | X |  | X |  |  | X | X
I17 |  | Tubing for Oil separator oil recovery |  | X |  | X |  |  | X | X |  | Refer to Hook up. Existing tubing to be removed and new tubing to be installed
I18 |  | Cable tray | Tray routing | X |  | X |  |  | X | X |  | Hot dip galvanised (perferated)
I19 |  |  | Tray installation | X |  |  |  |  | X | X | X
I20 |  |  | Tray supporting | X |  |  | X |  | X | X
I21 |  |  | Tray to tie-in | X |  |  | X |  | X | X |  | No cutting accepted on original pieces for creation of T-ins.
I22 |  | Wiring | Cable end preparation | X |  |  | X |  | X | X | X
I23 |  |  | Instruments | X |  | X |  |  | X | X | X | Instrument Cable is supplied by DELTA and execution by Manufacturer
I24 |  |  | Solenoid Valves | X |  | X |  |  | X | X | X | Instrument Cable is supplied by DELTA and execution by Manufacturer
I25 |  |  | Level switches | X |  |  | X |  | X | X | X | Instrument Cable is supplied and Executed by Manufacturer
I26 |  |  | Potentiometer | X |  | X |  |  | X | X | X | Transmitter Located in Junction Box. Wiring from Compressor to JB is needed.
I27 |  |  | Shielding | X |  | X |  |  | X | X | X
I28 |  |  | Wiring check | X |  |  | X |  | X | X | X
I29 |  | Heat tracing | Wiring | X |  | X |  |  | X | X |  | Not applicable
I30 |  | Earth cables | Cable end preparation | X |  |  | X |  | X | X | X
I31 |  |  | Earth bars | X |  |  | X |  | X | X | X | Opposite of the skid incl. per junction box to connect cable trays and supports. Instrumentation earth bar and equipment earth bar to be sepperated from each other.
I32 |  |  | Wiring to bars | X |  | X |  |  | X | X | X | Electrical Cable is supplied by DELTA and execution by Manufacturer
I33 |  |  | Wiring check | X |  |  | X |  | X | X | X
I34 |  | Junction boxes supports |  | X |  |  | X |  | X | X | X
I35 |  | Local Control Panel Support |  | X |  |  | X |  | X | X | X
I36 |  | Slide valve support |  | X |  |  | X |  | X | X | X
I37 |  | Pressure Transmitter Support |  | X |  |  | X |  | X | X | X
I38 |  | Bolts, washer and 2 nuts for Supports |  | X |  |  | X |  | X | X | X
I39 |  | Welding Support to skid |  | X |  |  |  |  | X | X | X
I40 |  | Bolting Support to skid |  | X |  |  |  |  | X | X | X
I41 |  | Locktite 577 |  |  |  |  | X |  | X | X
I42 |  | Teflon |  |  |  |  | X |  | X | X
I43 |  | U Clamps for Tubing |  | X |  |  | X |  | X | X | X
I44 |  | Termination inside Instruments |  | X |  |  |  |  | X | X | X
I45 |  | Termination inside Junction Box's |  | X |  |  |  |  | X | X | X
I46 |  | Termination inside Local Control Panel |  | X |  |  |  |  | X | X | X
I47 |  | Function test of Instruments |  | X |  |  |  |  | X | X
I48 |  | Tag plate for Instrument Cable |  | X |  |  | X |  | X | X | X
I49 |  | Electrical Heater |  | X |  | X |  |  | X | X | X | Electrical Heater is threaded connection
Line | Rev. | Packaging, Miscellaneous |  | Design |  | Supply |  | Installation |  | Inspection |  | Comment
|  |  |  | DE | Mfg | DE | Mfg | DE | Mfg | DE | Mfg
A01 |  | Skid separation |  | X | X |  |  |  | X | X |  | Not applicable
A02 |  | Touch-up painting |  |  |  |  | X |  | X |  |  | Before final inspection to be excecuted
A03 |  | Platform / Loose parts dismantling | [6 empty] | X |  |  | Not applicable
A04 |  | Spare parts |  |  |  |  | X |  |  |  |  | Not applicable
A04 |  | Nitrogen charge (0,5barG) |  |  |  |  | X |  | X |  | X | Not applicable
A05 |  | Seaworthy packing |  | X |  |  |  | X | X | X |  | Not applicable
A06 |  | Disposal of waste | [6 empty] | X |  |  | Waste generated by production
A07 |  | Ex-works delivery | [6 empty] | X | X |  | Lift the skid and put on the Truck is in manufacturer scope of work
A08 |  | Final documentation |  |  | X |  | X |  |  | X |  | Not applicable