## Resolution Sheet
|  |  |  | PROJECT: | ABT 360 KT/Y PP PLANT Project
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Instrument & IO list | L03-RE037-EL-LST-002 23249-06
Item no. | Reference | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 |  |  |  | calibration range to be specified | Updated.
2 |  |  |  | I/O signals to/from plant DCS/ESD to be added | Updated.
3 |  |  |  | Signals To/From plant DCS/ESD to be shown. please refer to attached commented PID | Updated.
4 |  |  |  | 1) calibration range to be specified | Updated
5
6
7 | [8 empty] | Open
8
9
10
11
12
13
14
15
16
17
18
19